FACILITIES MAINTENANCE

METHOD STATEMENT

Work-order format for occupied buildings and routine maintenance

| WORK ORDER [Reference] | SITE / BUILDING [Location] |
| --- | --- |
| EXACT WORK AREA [Room, asset or zone] | TASK [Concise description] |
| REQUESTED WINDOW [Date / time] | EXPECTED DURATION [Duration] |
| PERSON IN CHARGE [Name / contact] | REVISION [Number / date] |

# A. Work request and service impact

| Question | Planned answer |
| --- | --- |
| What will be repaired, inspected or replaced? | [Scope and exclusions] |
| Which occupants, operations or public routes may be affected? | [People / areas / timing] |
| Which services may be interrupted? | [Electrical, water, ventilation, alarms, data, lifts, other] |
| What must remain operational? | [Critical services and protection] |
| Who authorizes shutdown and restoration? | [Name / contact / required notice] |

# B. Access, isolation and area control

| Control | Required arrangement | Confirmed by / time |
| --- | --- | --- |
| Access and keys | [Authorization, escort, sign-in] | [Record] |
| Service identification | [Asset / circuit / valve / system verified] | [Record] |
| Isolation / lockout | [Applicable site procedure, test and control of keys] | [Record] |
| Occupied-area protection | [Barrier, signage, dust/noise control, alternate route] | [Record] |
| Sensitive environment | [Fire, infection control, food, IT, security or other constraint] | [Record] |
| Reinstatement authority | [Who may restore the service and when] | [Record] |

# C. People, tools and materials

| Item | Details / specification | Inspection or competence check |
| --- | --- | --- |
| Maintenance team | [Names and roles] | [Training / authorization] |
| Specialist contractor | [Company and contact] | [Evidence / supervision] |
| Tools and test equipment | [List] | [Condition / calibration] |
| Parts and consumables | [List] | [Compatibility / SDS] |
| PPE / RPE | [Risk-based selection] | [Fit / issue] |
| Access equipment | [Type] | [Inspection / user competence] |

# D. Task risk and control checkpoints

| Checkpoint | Hazard or concern | Control from assessment | Go / no-go check |
| --- | --- | --- | --- |
| Before access | [Hazard] | [Control] | ☐ Go ☐ Stop |
| Before isolation | [Hazard] | [Control] | ☐ Go ☐ Stop |
| Before opening / dismantling | [Hazard] | [Control] | ☐ Go ☐ Stop |
| Before testing / energizing | [Hazard] | [Control] | ☐ Go ☐ Stop |
| Before handover | [Hazard] | [Control] | ☐ Go ☐ Stop |

Cross-reference: Risk assessment [reference]  |  Permit [reference]  |  Isolation procedure [reference]  |  Manufacturer information [reference]

# E. Numbered work method

| 1 | Prepare and notify [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 2 | Secure the work area [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 3 | Identify and isolate [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 4 | Verify safe condition [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 5 | Carry out the task [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 6 | Inspect and test [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 7 | Restore and observe [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

| 8 | Clean, record and hand over [Write the task-specific action, control, person responsible and evidence required before moving on.] |
| --- | --- |

# F. Contingency, emergency and change

| Scenario | Immediate action | Escalation / contact |
| --- | --- | --- |
| Unexpected live service, stored energy or unsafe condition | Stop; do not improvise; keep the area safe | [Contact / process] |
| Damage, leak, alarm, exposure or spill | [Site-specific emergency action] | [Contact / process] |
| Required method or scope changes | Pause; reassess; revise and re-brief before restart | [Approver] |
| Work cannot be completed | Make safe, label status and protect occupants | [Handover contact] |

# G. Restoration and handover

☐  Guards, covers, fire stopping, labels and finishes reinstated

☐  Tools, temporary protection and waste removed using the approved route

☐  Service restored only by an authorized person and monitored for normal operation

☐  Affected occupants / operations informed that the area or service is available

☐  Defects, limitations, follow-up work and readings recorded in the maintenance system

☐  Keys, permits, isolations and access controls formally closed or handed over

| Completion record | Name / details | Signature / time |
| --- | --- | --- |
| Person completing work | [Name / role] | [Sign / time] |
| Person accepting handover | [Name / role] | [Sign / time] |
| Outstanding action owner | [Name / action / due date] | [Status] |

IMPORTANT Adapt this template to the actual facility, asset, risk assessment, permit system, isolation rules, manufacturer instructions and current legal requirements. A competent person must review and authorize it before work begins.